## Slide 1: A Sandwich DNA Model for Rapid and Sensitive Detection of NSCLC Utilizing the Magnetic Modulation Biosensing System
Saar Ashri
The Open University
Optical Imaging and Biosensing Laboratory
Bar-Ilan University
Under the Supervision of Dr. Amos Danielli
December 2016
כסלו תשע"ז

## Slide 2
How do we detect a target analyte at ultra-low concentrations?
Notes: In 2015, the US government announced the Precision Medicine Initiative, which is aimed at improving disease treatment and diagnostic. The challenge is how to detect a target analyte at ultra low concentrations?

## Slide 3
Solution
(blood)
Target
(analyte)
Fluorescent marker
Laser beam
Unbound fluorescent marker
[1] A. Danielli et al., Optics Express, 16, 19253-19259 (2008)
Limitations of fluorescent biosensing
Notes: 1. What I will try to do now is briefly explain the underlying magic of our technology.
First, let me describe the challenges in detecting small concentrations of any target molecule.
Imagine you have a solution with target molecules in it, for example, troponin I.
Now, clinical chemists know how to specifically label the target molecules with fluorescent markers.
To see these markers, you need to shine laser light onto the solution.
However, at low concentration, you only have 2-3 molecules inside your laser beam, and therefore the fluorescent light is very weak and further masked by the background noise from other molecules.

## Slide 4
Magnetic bead
Magnetic poles
Unbound fluorescent marker
[1] A. Danielli et al., Optics Express, 16, 19253-19259 (2008)
Magnetic Modulation Biosensing (MMB)
Notes: To overcome this problem, we attach magnetic beads to the target molecules.
and we place two external magnetic poles outside the solution holder.

## Slide 5
Magnetic bead
Magnetic poles
Unbound fluorescent marker
[1] A. Danielli et al., Optics Express, 16, 19253-19259 (2008)
Magnetic Modulation Biosensing (MMB)
Notes: 3. Once we activate the magnetic poles, the fluorescent molecules from the entire solution aggregate into your detection volume.
Instead of 2-3 molecules you have thousands of molecules and the signal is orders of magnitudes bigger.

## Slide 6
Magnetic poles
Background noise
[1] A. Danielli et al., Optics Express, 16, 19253-19259 (2008)
Magnetic Modulation Biosensing (MMB)
Notes: 5. To eliminate the noise from the background molecules, we move the magnetic beads from side to side, in and out of the laser beam spot.
Every time they pass through the laser beam, they generate light.
All we have to do now is to detect a flashing signal, which is significantly distinguished from the constant background noise.
The modulation from side to side eliminates the need to wash the solution from background molecules.
Therefore, our test can be done in a single step; you just mix everything together and wait for the results.
The increased sensitivity and simplicity is what differentiate us from other technologies.

## Slide 7
Diode laser
Dichroic mirror
Objective lens
Sample
Photo detector
Camera
Electromagnets
The optical setup
Notes: The set-up is very simple. We have a small diode laser as our light source, a dichroic mirror reflects the laser light to an objective lens, which focuses the light on the sample. The fluorescence light is collected by the same objective lens, transfer through the dichroic mirror, emission filters, and a pinhole to a photo-detector. We also have a camera for alignment.
The data from the PMT is collected and demodulated using a lock-in amplifier.

## Slide 8
Without target
With target
Data collection
Notes: Here you can see a close up of the aggregated beads. For visualization purposes, we used white light and an increased number of beads. Here you can see the laser light, now we turn off the white light and close the pinhole. On the other hand you can see the same sample without the target molecules. Here is the signal generated from the PMT. The amplitude of the peak represents the amount of fluorescence light (and therefore target molecules) on the beads.

## Slide 9
Is there a correlation between the ctDNA in the liquid biopsy to the excitation level?
Are we able to quantify the ctDNA levels using calibration curve?
The Research Question

## Slide 10
Streptavidin
System characterization – Atto 532

## Slide 11
3-log dynamic range
Error bars = SD
n=3
3-log dynamic range

## Slide 12
Streptavidin
[1] A. Danielli et al., Curr. Pharm. Biotechnol. , 11 (2010)
Full assay – sandwich DNA

## Slide 13
Full assay – sandwich DNA
Template-

## Slide 14
There is a correlation between the number of Atto molecules per bead to the fluorescence level
There is a correlation between the ctDNA complexes (or ‘Templates’) to the fluorescence levels
At a certain point (x≈106 template molecules/bead) we saw a ‘hook sign’ which signals the upper limit of quantification and the binding capacity of the bead itself
Summary of Results

## Slide 15
MMB’s unique properties are aggregation and modulation.
MMB’s advantages are: fast reaction time, sensitivity, and simplicity (no washing steps)
MMB is particularly suitable for point-of-care applications and resource-limited settings
Conclusions
Notes: In conclusion, we showed that the MMB can be used for rapid and sensitive detection of protein at low concentrations.
The MMB unique properties are the aggregation and modulation, which enable fast reaction time, high sensitivity, and simplicity (no washing steps).
In particular, theses qualities suggest that the MMB system can be used for point-of-care applications and resource limited settings.
Potential applications include: viruses, cardiac biomarkers, Traumatic Brain Injury biomarkers, etc. IN fact, any assay that as a result of the bio-recognition event produces light, can be used in the MMB system.

## Slide 16
The field of liquid biopsy encloses methods that may simplify and ease the lives of many patients
Further researches are required for the field to develop
ctDNA is a great, potent target for analysis
A well-developed protocol for bleaching the beads is desirable
Future Perspectives

## Slide 17: A Sandwich DNA Model for Rapid and Sensitive Detection of NSCLC Utilizing the Magnetic Modulation Biosensing System
Saar Ashri
The Open University
Optical Imaging and Biosensing Laboratory
Bar-Ilan University
Under the Supervision of Dr. Amos Danielli
December 2016
כסלו תשע"ז